## Instructions
Software Bill of Materials (SBOM) — FDA 510(k) / Premarket Template (Enhanced Edition)
Aligned with FDA guidance “Cybersecurity in Medical Devices: Quality Management System Considerations and Content of Premarket Submissions” (issued Feb 3, 2026), Section 524B of the FD&C Act, the NTIA Minimum Elements for an SBOM, and NIST SP 800-218 (SSDF). This edition adds the fields most commonly requested by FDA reviewers beyond the NTIA baseline, plus a self-checking compliance dashboard.
IMPORTANT — Format of the Official Submission
FDA requires a MACHINE-READABLE SBOM for cyber devices (industry-accepted formats such as CycloneDX or SPDX) in the eSTAR cybersecurity section of a 510(k). This Excel workbook is a human-readable WORKING / MANAGEMENT template and review companion — use it to assemble, track and review your component data, then generate the machine-readable SBOM your build tooling produces. It does not by itself replace the machine-readable file in the submission.
What's in this workbook
SBOM Metadata | Device, submission, and SBOM document-level data — including the NTIA document-level elements (Author, Timestamp), manufacturer security/CVD contact, sign-off, and an Auto Summary that pulls live counts from the other tabs.
SBOM Components | The core component inventory: NTIA minimum elements, structured dependency classification, FDA risk-based prioritization fields (criticality, safety relevance, network exposure, authentication dependency, internet-facing), FDA lifecycle elements (support level, EOS/EOL with auto-calculated flags), and supply-chain integrity fields (hash, signature status, build/provenance ID).
Environment & Third-Party Dependencies | Operating system, container base image, embedded firmware, and third-party/cloud service dependencies — categories that sit outside the application component tree but are still part of the device's attack surface.
Vulnerabilities & VEX | Per-component known vulnerabilities with CVSS (version, base score, vector), EPSS score, CISA KEV status, VEX status and justification, patient-safety/clinical impact, exploitability, and a remediation plan with owner and target date.
Lifecycle & Support Plan | Obsolescence / end-of-support planning for components approaching or past EOS/EOL — risk, mitigation, compensating controls, verification method, owner and action dates.
Supplier & Security Contact Registry | One row per supplier/manufacturer with a security (PSIRT) contact and coordinated vulnerability disclosure (CVD) policy link — supports Sec. 524B's CVD and supply-chain transparency expectations.
FDA Compliance Dashboard | Self-checking traceability matrix: every NTIA/FDA element mapped to its location in this workbook, with a live completeness percentage computed from your data, plus a composite readiness indicator.
Required / recommended SBOM fields — and where each lives
Requirement | Source / Location in this workbook
Supplier Name | NTIA min. element — SBOM Components, col. ‘Supplier / Legal Entity Name’
Component Name | NTIA min. element — SBOM Components, col. ‘Component Name’
Version of the Component | NTIA min. element — SBOM Components, col. ‘Version’
Other Unique Identifiers | NTIA min. element — SBOM Components, cols. ‘Unique ID Type’ + ‘Unique ID Value’ (CPE / PURL / SWID)
Dependency Relationship | NTIA min. element — SBOM Components, cols. ‘Dependency Type’, ‘Parent / Depends-On Component’, ‘Dependency Depth’ (structured, not free text)
Author of SBOM Data | NTIA min. element (document-level) — SBOM Metadata, ‘Author Name / Organization / Role / Email’
Timestamp | NTIA min. element (document-level) — SBOM Metadata, ‘SBOM Timestamp’
Level of support | FDA additional element (Sec. VII.C.3) — SBOM Components, col. ‘Level of Support’
Component end-of-support (EOS) date | FDA additional element (Sec. VII.C.3) — SBOM Components, col. ‘End-of-Support (EOS) Date’ (auto-flagged)
End-of-life (EOL) date | SBOM Components, col. ‘End-of-Life (EOL) Date’
All known vulnerabilities | FDA premarket expectation — Vulnerabilities & VEX tab
Vulnerability remediation status / VEX | FDA premarket expectation — Vulnerabilities & VEX, cols. ‘VEX Status’, ‘VEX Justification’, ‘Status’, ‘Target / Resolution Date’
Risk-based prioritization inputs | FDA premarket expectation — SBOM Components, cols. ‘Criticality’, ‘Safety Relevance’, ‘Network Exposure’, ‘Authentication Dependency’, ‘Internet-Facing’
Software supply-chain integrity | SBOM Components, cols. ‘Component Hash / Checksum’, ‘Cryptographic Signature Status’, ‘Build Environment / Provenance ID’
Coordinated vulnerability disclosure / supplier contact | Supplier & Security Contact Registry tab; SBOM Metadata, ‘Manufacturer Security Contact / CVD’ section
OS / container / firmware / third-party service dependencies | Environment & Third-Party Dependencies tab
How to use
1. Fill the SBOM Metadata tab first (device, submission, SBOM author/timestamp, manufacturer security contact).
2. Enter one row per component on the SBOM Components tab. The row shaded amber is an EXAMPLE — overwrite or delete it.
3. Use the drop-downs (Unique ID Type, Dependency Type, Component Type, Origin, Level of Support, Criticality, Network Exposure, VEX Status, etc.) for consistent, filterable values.
4. Enter EOS/EOL as real dates (YYYY-MM-DD). ‘Days to EOS’ and ‘Lifecycle Flag’ calculate automatically and turn red when a component is past support, amber within 12 months.
5. Log every known vulnerability on the Vulnerabilities & VEX tab; set a real VEX status (not left at ‘Under Investigation’ indefinitely) with justification, patient-safety impact, and a target date.
6. For any component near/past EOS, or with an unverified support status, complete a row on the Lifecycle & Support Plan tab.
7. Record every OS, container, firmware, or third-party service dependency on the Environment & Third-Party Dependencies tab — these are commonly missed but are part of the device's attack surface.
8. Add each supplier's security contact and CVD policy link to the Supplier & Security Contact Registry.
9. Check the FDA Compliance Dashboard tab before submission — it computes live completeness percentages from your data and flags anything still short of ‘Complete’.
10. Need more rows than pre-filled? Copy the last data row down — formulas, formatting, and validation carry over.
Disclaimer: This template is a working aid, not regulatory or legal advice. FDA guidance is non-binding and evolves — verify current guidance and eSTAR requirements and consult your regulatory affairs function before submission.

## SBOM Metadata
SBOM Metadata
Device & Submission
Device Name
Device Model / Catalog Number
Manufacturer / Sponsor (Legal Entity Name)
Submission Type
Submission (e.g., 510(k)) Number
Product Code / Regulation No.
Device Software Version
Top-Level / Primary Component
SBOM Document (NTIA document-level elements)
Author Name (Individual) [NTIA]
Author Organization [NTIA]
Author Role / Title
Author Email
SBOM Timestamp [NTIA]
SBOM Version
SBOM Format(s) for Submission (e.g., CycloneDX / SPDX)
SBOM Generation Tool & Version
Primary Data Source
Manufacturer Security Contact / Coordinated Vulnerability Disclosure
Manufacturer PSIRT / Security Contact Email
Coordinated Vulnerability Disclosure (CVD) Policy URL
Vulnerability Intake Method (e.g., web form, email, HackerOne)
Sign-off
Prepared By
Date Prepared
Reviewed / Approved By
Date Approved
Auto Summary (live — calculated from other tabs, do not edit)
Total components listed | 1
Components PAST end-of-support | 0
Components with EOS within 12 months | 0
Components no longer maintained / abandoned / unknown support | 0
Total vulnerabilities logged | 1
Open Critical / High vulnerabilities | 0
Vulnerabilities with no VEX justification yet | 0
FDA Readiness Snapshot (full detail on 'FDA Compliance Dashboard' tab)
Composite FDA Readiness Score (0-100%) | 73.33%
Readiness Status | Partial — Gaps Remain

## SBOM Components
NTIA Minimum Elements (Identification) | [5 empty] | Dependency & Classification | [5 empty] | Risk & Operational Classification (FDA Risk-Based Prioritization) | [5 empty] | FDA Lifecycle Elements (Sec. VII.C.3) — auto-calculated |  |  |  |  | Vulnerabilities & Patching |  | Supply-Chain Integrity & Provenance |  |  |  | Notes | Total components (auto) | 1
# | Component Name | Version | Supplier / Legal Entity Name | Unique ID Type | Unique ID Value | Dependency Type | Parent / Depends-On Component | Dependency Depth | Component Type | Origin / Category | License | Runtime / Build-Time | Criticality to Device Operation | Safety Relevance | Network Exposure | Authentication Dependency | Internet-Facing | Level of Support | End-of-Support (EOS) Date | End-of-Life (EOL) Date | Days to EOS | Lifecycle Flag | Known Vulnerabilities (CVE/IDs) | Patch / Update Mechanism | Component Hash / Checksum (SHA-256) | Cryptographic Signature Status | Build Environment / Provenance ID | Supplier Security Contact (Email) | Notes / Justification | Past EOS (auto) | 0
1 | example-library | 2.4.1 | Example Software Foundation | PURL | pkg:pypi/example-library@2.4.1 | Transitive | Hospital Admin Portal (top-level) | 1 | Library | Open-Source (OSS) | MIT | Runtime | High | Medium | Direct | Yes | Yes | Actively maintained |  |  |  |  | None known | 2.4.5 | sha256:9f3a...(example) | Signed & Verified | build-pipeline-run-00123 | security@example-software.org | Example row — overwrite or delete before use. | EOS <=12mo (auto) | 0
[30 empty] | Unsupported/Unknown (auto) | 0

## Environment & 3rd-Party Deps
OS / Container / Firmware / Third-Party Service Dependencies — components outside the application dependency tree that are still part of the device's attack surface
# | Dependency Category | Name | Version / Tag / Digest | Supplier / Vendor | Unique Identifier (PURL / Image Digest / CPE) | Level of Support | EOS Date | EOL Date | Known Vulnerabilities | Network Exposure | Notes
1 | Operating System | example-linux-server | 22.04 LTS | Example Linux Distro Project | cpe:2.3:o:example:linux_server:22.04 | Actively maintained |  |  | None known | Indirect | Example row — overwrite or delete before use.

## Vulnerabilities & VEX
Identification |  |  |  | Severity Scoring |  |  |  | Threat Intelligence |  | VEX & Safety Assessment |  |  |  | Remediation Plan |  |  |  | Status & Notes |  | Total vulns (auto) | 1
# | Component Name | Component Version | Vulnerability ID (CVE/GHSA) | CVSS Version | CVSS Base Score | CVSS Vector | Severity | EPSS Score | CISA KEV Status | VEX Status | VEX Justification | Patient Safety / Clinical Impact | Exploitability | Remediation / Mitigation Plan | Fixed / Target Version(s) | Remediation Owner | Target / Resolution Date | Status | Notes | Open Crit/High (auto) | 0
1 | example-library | 2.4.0 | CVE-2026-00000 | 3.1 | 7.5 | AV:N/AC:L/PR:N/UI:N/S:U/C:H/I:N/A:N | High | 0.42 | No | Fixed | component_not_present | Low | Public PoC Available | Upgrade to 2.4.1, which contains the fix. | 2.4.1 | J. Doe (Security Eng.) |  | Resolved | Example row — overwrite or delete before use. | No VEX justification (auto) | 0
[20 empty] | Under Investigation (auto) | 0
[20 empty] | Missing CVSS (auto) | 0
[20 empty] | Missing target date (auto) | 1

## Lifecycle & Support Plan
End-of-Support / End-of-Life Planning — for every component near/past EOS or whose support status is unverified
# | Component Name | Version | Supplier | Support Level | EOS Date | EOL Date | Days to EOS | Risk if Unsupported | Mitigation / Replacement Plan | Compensating Controls | Verification Method | Owner / Responsible | Target Action Date | Status
1 | example-library | 2.4.1 | Example Software Foundation | Actively maintained |  |  |  | Medium | Plan to upgrade to next major release before EOS. | Network segmentation; WAF rule for known CVE pattern. | Quarterly penetration test | J. Doe (Security Eng.) |  | Planned
Formulas:
Days to EOS = IF([EOS Date]="","",[EOS Date]-TODAY())

## Supplier & Security Contacts
Supplier & Security Contact Registry — supports Sec. 524B coordinated vulnerability disclosure (CVD) and supply-chain transparency expectations
# | Supplier / Manufacturer Legal Name | Component(s) Supplied | Security / PSIRT Contact Email | Coordinated Vulnerability Disclosure (CVD) Policy URL | Vulnerability Feed Subscribed | Notes
1 | Example Software Foundation | example-library | security@example-software.org | https://example-software.org/security/disclosure-policy | Yes | Example row — overwrite or delete before use.

## FDA Compliance Dashboard
FDA Compliance Dashboard — live, self-checking, computed from your data
| Composite FDA Readiness Score (average of every completeness row below) | 73.33% | Partial — Gaps Remain |  | This is a completeness score for this template's data, not an FDA-issued figure — it flags gaps, it does not grant clearance.
NTIA Minimum Elements
# | Element | Category | Completion | Status | How It's Calculated
1 | Supplier Name | NTIA min. | 100% | Complete | Non-blank ‘Supplier / Legal Entity Name’ cells ÷ components entered.
2 | Version | NTIA min. | 100% | Complete | Non-blank ‘Version’ cells ÷ components entered.
3 | Unique Identifier (PURL/CPE/SWID) | NTIA min. | 100% | Complete | Non-blank ‘Unique ID Value’ cells ÷ components entered.
4 | Dependency Relationship (structured) | NTIA min. | 100% | Complete | Non-blank ‘Dependency Type’ cells ÷ components entered.
5 | SBOM Author (document-level) | NTIA min. | 0% | Missing | 1 if ‘Author Email’ is completed on SBOM Metadata, else 0.
6 | Timestamp (document-level) | NTIA min. | 0% | Missing | 1 if ‘SBOM Timestamp’ is completed on SBOM Metadata, else 0.
FDA Additional Elements (Sec. VII.C.3 / Premarket Expectations)
# | Element | Category | Completion | Status | How It's Calculated
1 | End-of-Support (EOS) Date | FDA Sec. VII.C.3 | 0% | Missing | Non-blank EOS Date cells ÷ components entered.
2 | End-of-Life (EOL) Date | FDA expectation | 0% | Missing | Non-blank EOL Date cells ÷ components entered.
3 | Level of Support Known (not Unknown/blank) | FDA Sec. VII.C.3 | 100% | Complete | Components with a Level of Support other than ‘Unknown’ ÷ components entered.
4 | Known Vulnerabilities Recorded | FDA premarket expectation | 100% | Complete | Non-blank ‘Known Vulnerabilities’ cells ÷ components entered (0 CVEs found should still be marked ‘None known’).
5 | Vulnerability Remediation Status / VEX Resolved | FDA premarket expectation | 100% | Complete | Vulnerabilities whose VEX Status has moved past ‘Under Investigation’ ÷ vulnerabilities logged.
6 | Component Hash / Checksum Present | Supply-chain integrity | 100% | Complete | Non-blank ‘Component Hash / Checksum’ cells ÷ components entered.
7 | Cryptographic Signature Status Recorded | Supply-chain integrity | 100% | Complete | Non-blank ‘Cryptographic Signature Status’ cells ÷ components entered.
Supply-Chain Breadth
# | Element | Category | Completion | Status | How It's Calculated
1 | OS / Container / Firmware / 3rd-Party Dependencies Logged | Supply-chain transparency | 100% | Complete | 1 if at least one row is entered on the Environment & 3rd-Party Deps tab.
2 | Supplier Security Contacts / CVD Registered | Sec. 524B — CVD | 100% | Complete | 1 if at least one row is entered on the Supplier & Security Contacts tab.
Quick Stats (live counts)
| Metric | Count | Notes
| Total components listed | 1
| Components PAST end-of-support | 0
| Components with EOS within 12 months | 0
| Components unsupported / unknown support status | 0
| Total vulnerabilities logged | 1
| Open Critical / High vulnerabilities | 0
| Vulnerabilities missing a VEX justification | 0
| Vulnerabilities still 'Under Investigation' | 0
| Vulnerabilities missing a numeric CVSS score | 0
| Vulnerabilities missing a target resolution date | 1